Work Type Definition

Pages 1-2 detail the work type definition.  In order to become pre-qualified for this work type, please see the “Work Type Submittal Requirements” on pages 3-4.

- Description

Roadway Lighting Design includes developing lighting analysis reports, forms and letters, supporting documentation, lighting plans, special provisions, and engineer’s cost estimate for roadway lighting construction projects.  This includes all required data collection, field site investigation, coordination with power companies, pole and foundation structural analysis, civil and electrical engineering design, plan preparation, special provision preparation, cost estimation, any calculations and analysis required to produce the deliverables, and providing technical support and construction inspection during bidding and construction concerning the design.

- Standards and Specifications

Standards and specifications required for a project under this work type may include the following:

- Plans will be delivered at 30 percent, 60 percent, 90 percent, and 100 percent complete.

- The Plans, Special Provisions, and Engineer’s Estimate will be in accordance with all Federal and Minnesota State standards

- The deliverables will use the proper formats, symbols, abbreviations, etc.

- Photometric analysis of lighting configuration shall be provided in hard copy and electronic format.

- Plans must be provided in hard copy and Microstation format.  See CADD Standards at: (http://www.dot.state.mn.us/caes/cadd)

- Text documents must be provided in Microsoft Word format.

- Spreadsheets must be provided in Microsoft Excel format.

- Provided By MnDOT

Information to be supplied by MnDOT for a project may include the following:

- National Electrical Code

- MnDOT Traffic Engineering Manual

- MnDOT Standard Plates Manual

- MnDOT Standard Specifications for Construction

- MnDOT Architectural and Aesthetic Design Guidelines

- American Association of State Highway & Transportation Officials (AASHTO) Green Book

- AASHTO Standard Specifications for Structural Supports for Highway Signs, Luminaires, and Traffic Signals (2001)

- MnDOT Roadway Lighting Design Manual

- MnDOT CADD Lighting Cell Library

- MnDOT Sample Lighting Plans

- MnDOT Sample Lighting Special Provisions

- Illuminating Engineering Society of North America, American National Standards Practice for Roadway Lighting

- AASHTO, An Informational Guide for Roadway Lighting

- MnDOT Technical Manual

- AASHTO Roadside Design Guide

- City or County lighting design requirements for lighting that will not be owned or maintained by MnDOT

- Provided by Consultant

Deliverables to be supplied by the consultant for a project may include the following:

- A plan set may be for a stand-alone lighting system project or for lighting that is part of a larger grading/surfacing project, and includes the following:

  - Title Sheet, Estimated Quantities Sheet, Detail Sheets, Layout Sheets, “For Information Only” Sheets of Existing Lighting, Utilities Sheets, and — when construction is complete —”as-built” plans.

- Special Provisions defining special requirements for the construction or changes from the Standard Specifications for Construction.

- Engineer’s Estimate, including “quantities tabulation” and an engineer’s estimate for construction cost.

The remainder of this page is intentionally left blank.

Work Type Submittal Requirements

A consultant firm becomes pre-qualified based on the qualifications of the personnel that are employed by the firm and by meeting the demonstrated equipment or CADD requirements.

| Key Personnel Requirements |
| --- |
| Minimum Number of Staff: | At least one Civil Engineer having demonstrated experience in the activities normally associated with this work, OR at least one Registered Electrical Engineer having demonstrated experience in the activities normally associated with this work. Sufficient number of available qualified technical staff to perform all data collection, analysis, and design, coordinate with power companies, and produce a plan, special provisions, and engineer’s cost estimate within the project schedule. An example schedule may be: Designing a single interchange lighting project within twelve weeks from start of work. |
| Professional Certification/Licensure: | The individual identified under the Minimum Number of Staff requirements has to be a Minnesota Licensed Civil Engineer with the Minnesota State Board of Architecture, Engineering, Land Surveying, Landscape Architecture, Geoscience and Interior Design (AELSLAGID) OR At least one engineer must be a licensed Electrical Engineer with the Minnesota State Board of AELSLAGID. |
| Work Type Submittal Requirements* |
| Resume and Relevant Project Experience Form (Form PQ1) Submit in Word format | Complete Parts 1, 1A, 2 and 3 of Form PQ1 Part 1: Fill out general information and names of personnel Part 1A: For each person submitted, demonstrate satisfactory experience on at least two roadway lighting design projects (maximum of five) in the last five years in the activities required. Part 2: Project Examples listed must correlate to those described below in “Project Example Requirements.” Part 3: Describe experience of key personnel with Microstation computer aided drafting software and lighting design software. |
| Project Example Requirements Submit in PDF format | Submit at least one example of a roadway lighting design plan completed within the last five years by submitted key personnel. Example must include a description and period of performance of the project(s) with emphasis on plan and actual project delivery performance. Provide a sample output of work utilizing lighting design software to demonstrate experience/proficiency in this area. Acknowledgement of the availability of Microstation computer aided drafting software and lighting design software. |
| Proof of Professional Certification/Licensure Submit in PDF format | A. Provide a current copy of the applicable Professional Certification/ Licensure. |
| CADD Requirements Submit in PDF format | A signed and notarized form indicating the firm is capable of using MnDOT’s Level 1 CADD Standards which can be found at: www.dot.state.mn.us/consult/prequal/documents/cadd1.doc |
| *Work Type Submittal Instructions: Create a flash drive that includes the following individual files or folders in this order: I. Resume and Relevant Project Experience Form (Form PQ1) II. Project Example Requirements(this should be a folder that includes individual files clearly named according to Part 2 of the PQ1) III. Proof of Professional Certification/Licensure IV. CADD Requirements Each file should be saved in the format identified above. Submit 5 copies of the flash drive. |

The remainder of this page is intentionally left blank.